## Zones
struct ALARM_ZONE
zoneName[16]	boardID	valid	zoneType	zonePartition	zoneOptions					zoneExtOpt
					ALARM_TYPE	SHUTDWN_EN	BYPASS_EN	STAY_ZONE	FORCE_EN	INTELIZONE	DELAY_TRM	TAMPER_FOLLOW_PANEL	TAMPER_OPT	ANTIMASK_FOLLOW_GLOBAL	ANTIMASK_OPT
Zone_1	0	TRUE	ZONE_DISABLED	0	STEADY_ALARM	TRUE		FALSE	FALSE	TRUE	TRUE	TRUE	DISABLE	TRUE	DISABLE
Zone_2	0	TRUE	INSTANT	1	PULSED_ALARM	FALSE		FALSE	FALSE	FALSE	FALSE	FALSE	TROUBLE_ONLY	FALSE	TROUBLE_ONLY
Zone_3	0	TRUE	ENTRY_DELAY1	2	SILENT_ALARM	FALSE		FALSE	FALSE	FALSE	FALSE		ALARM_WHEN_ARMED		ALARM_WHEN_ARMED
Zone_4	0	TRUE	ENTRY_DELAY2	3	REPORT_ALARM	FALSE		FALSE	TRUE	FALSE	FALSE		ALARM		ALARM
Zone_5	0	TRUE	FOLLOW	4	STEADY_ALARM	FALSE		FALSE	TRUE	FALSE	FALSE
Zone_6	0	TRUE	STAY	5	PULSED_ALARM	FALSE		FALSE	TRUE	FALSE	FALSE
Zone_7	0	TRUE	STAY_DELAY1	6	SILENT_ALARM	FALSE		FALSE	FALSE	FALSE	FALSE
Zone_8	0	TRUE	STAY_DELAY2_ANTI_MASK	7	REPORT_ALARM	FALSE		FALSE	FALSE	FALSE	FALSE
Zone_9	0	TRUE	H24_BUZZER	0	STEADY_ALARM	FALSE	FALSE	FALSE	FALSE	FALSE	FALSE
Zone_10	0	TRUE	H24_BURGLAR	1	PULSED_ALARM	FALSE	FALSE	TRUE	TRUE	FALSE	FALSE
Zone_11	0	TRUE	H24_HOLDUP	2	SILENT_ALARM	FALSE	FALSE	TRUE	TRUE	FALSE	FALSE
Zone_12	0	TRUE	H24_GAS	3	REPORT_ALARM	FALSE	FALSE	TRUE	TRUE	FALSE	FALSE
Zone_13	0	TRUE	H24_HEAT	4	STEADY_ALARM	FALSE	FALSE	TRUE	FALSE	FALSE	FALSE
Zone_14	0	TRUE	H24_WATER	5	PULSED_ALARM	FALSE	FALSE	TRUE	FALSE	FALSE	FALSE
Zone_15	0	TRUE	H24_FREEZE	6	SILENT_ALARM	FALSE	FALSE	TRUE	FALSE	FALSE	FALSE
Zone_16	0	TRUE	H24_FIRE_DELAYED	7	REPORT_ALARM	FALSE	FALSE	TRUE	TRUE	FALSE	FALSE
Zone_17	0	TRUE	H24_FIRE_STANDARD	0	STEADY_ALARM	FALSE	FALSE	FALSE	TRUE	FALSE	FALSE

## Global
	SUPERVISOR	TAMPER	AC_FAILURE	BATTERY	BELL	SLAVE	ANTIMASK
armRestrictions	TRUE	TRUE	TRUE	TRUE	TRUE	TRUE	FALSE

troubleLatch	TRUE	#if trouble, latch it or not
tamperBypassEn	TRUE	#true - if zone is bypassed ignore tamper; false - follow global or local tamper settings
tamperOpts	DISABLE	#global tamper optons, can be DISABLE or TROUBLE_ONLY or ALARM_WHEN_ARMED or ALARM				#can be DISABLE or TROUBLE_ONLY or ALARM_WHEN_ARMED or ALARM
antiMaskOpt	DISABLE	#global tamper optons, can be DISABLE or TROUBLE_ONLY or ALARM_WHEN_ARMED or ALARM				#can be DISABLE or TROUBLE_ONLY or ALARM_WHEN_ARMED or ALARM
rfSupervisionOpt	DISABLE	#global tamper optons, can be DISABLE or TROUBLE_ONLY or ALARM_WHEN_ARMED or ALARM				#can be DISABLE or TROUBLE_ONLY or ALARM_WHEN_ARMED or ALARM

## alarmConfig
Partiton Name	forceOnRegularArm	forceOnStayArm	followZone2entryDelay2	alarmOutputEn	alarmCutOffTime	noCutOffOnFire	alarmRecycleTime
PARTITION_1	TRUE	TRUE	FALSE	TRUE	5	TRUE	10
PARTITION_2	TRUE	TRUE	FALSE	TRUE	5	TRUE	10
PARTITION_3	TRUE	TRUE	FALSE	TRUE	5	TRUE	10
PARTITION_4	TRUE	TRUE	FALSE	TRUE	5	TRUE	10
PARTITION_5	TRUE	TRUE	FALSE	TRUE	5	TRUE	10
PARTITION_6	TRUE	TRUE	FALSE	TRUE	5	TRUE	10
PARTITION_7	TRUE	TRUE	FALSE	TRUE	5	TRUE	10
PARTITION_8	TRUE	TRUE	FALSE	TRUE	5	TRUE	10